Chem 133 – Spring 2008 – Exam #1 – March 11, 2008	Name: __________________

Possibly useful equations:

Please read the questions carefully and follow instructions.  Be sure that your handwriting is clear, and indicate your answer.  Use the correct units and a reasonable number of sig figs.  If calculations are required, show your work in order to receive full or partial credit.

1. (3 pts) Choose the one correct answer:

Which of the following is one of Kirchhoff’s Laws?

a. The current entering any point on a circuit in series must equal the current at all other points.

b. Current is inversely proportional to resistance.

c. The voltage drop around a complete circuit in series must equal zero.

d. None of the above.

2. (4 pts) What is the current through R1 in the circuit below if R1 =  1kΩ?

3. (5 pts)  If R1 (above) has a value of 3MΩ, what is the voltage drop across R1?

Consider the circuit below for questions 4, 5, and 6 with R1 = 200Ω and R2 = 250Ω.

4. (5 pts) What is the current through R2?

5. (5 pts) What is the voltage drop across R2?

6. (5 pts) What is Vout (positive lead on the left and negative on the right)?

7. (4 pts) Choose the one correct answer:

For a simple low-pass signal filter we should measure Vout across what in an RC circuit?

a. The resistor.

b. The capacitor.

c. Both the resistor and capacitor

d. Neither the resistor or the capacitor.

8. (6 pts) For the op-amp below, express Vout in terms of Vin, R1, and R2.

9. (4 pts) What is the ‘gain’ for the op-amp in question 8?

10. (6 pts) What is the resolution (expressed in µV) of an 18-bit A/D converter with an input voltage range of 0-5V?

11. (5 pts) Express the following decimal numbers in their binary form:

a. 83			________________

b. 1x104		________________

12. (3 pts) Indicate if the following is true or false:

Environmental noise is always at one specific frequency.

13. (3 pts) Indicate if the following is true or false:

Thermal noise can theoretically be eliminated by lowering temperature to 0 Kelvin.

14. (6 pts) A specific protocol requires a S/N of 3.0 for data to be considered acceptable.  For a particular sample, a single analysis on the specified instrumentation gives an S/N of 1.5 due to random baseline noise.  How many total analyses should be made of this sample to achieve an S/N of 3 with the averaged results?

15. (5 pts) What is the major difference between boxcar averaging and a running average?

16. (6 pts) Draw the schematic diagram for a UV/VIS spectrometer.  It must include the 5 general components of a spectrometer.

17. (8 pts) For a grating with a blaze spacing of 1500blazes/mm and an incident angle of 30o (relative to grating normal) for incoming radiation, what is the 1st order wavelength of light (reported in nm) with an angle of reflection of 5o (relative to grating normal)? (π radians = 180o; π = 3.14159).

18. (6 pts) Why can’t the grating described in problem 17 be used to separate 1st order wavelengths greater than ~1000nm when the incident angle is 30o?

19. (3 pts) Choose the one correct answer:

For a Michelson interferometer, the wavelength range scanned is dependent on:

a. The spacing (Δδ) at which measurements are made as the mirror moves.

b. The total distance that the mirror moves during a single scan.

c. The speed at which the mirror moves.

d. None of the above.

20. (8 pts) You are designing an FTIR spectrometer.  You would like your spectrometer to scan wavenumbers to 5000cm-1.  Ideally, what wavelength (reported in nm) of laser light should you use to control the motion of the moveable mirror and sampling interval of your Michelson Interferometer if data is collected at every second maximum observed in the interferogram of the laser?

# Text boxes

R2

R1

Vout

Vin

-

+

5V

-

+

Vout

R2

R1

R1

R1