Chem 133 - Problem Set #1

1.  Given the following circuit:

Calculate the voltage drop across R1 and R2 and the current flowing through the circuit.

Voltage drop across R1:

Voltage drop across R2:

or 12V – 8.25V = 3.75V

Current flowing through circuit:

2.  The output of a conductivity cell ranges between 0 and 3V.  Your meter will read voltages in the range of 0 to 1V.  What should the values of R1 and R2 be (in the figure below) in order to give an output signal of 0-1V with a maximum current of 10µA through R1 and R2?

At the maximum output of 3V, to limit the current to 10µA, we need a total resistance (R1 + R2) of:

To divide the voltage so that the drop across R1 = 1V at an input voltage of 3V we have:

We must solve the equation above and the equation below simultaneously.

You should find that R1 = 100kΩ, and R2 = 200kΩ.

3.  Vout is measured with an appropriate voltage meter.  What minimum input impedance is required for the meter if the measurement error is to be kept under 10% when reading a voltage of 1V?

Solve for RM in the following:

RM = 900kΩ

4.  Given the following circuit:

What is the current passing through point A?  What is the voltage at point B with respect to ground?  What is the power loss through each of the resistors R1 and R2?

Current passing through point A:

The total R of the circuit is 10kΩ + 15kΩ + 4.54kΩ = 30kΩ.  So the total current through the circuit (or at point A) is:

The voltage at point B is:

The power loss through R1 is:

The power loss through R2 is:

5.  Many transducers work by varying resistance when the property being measured changes.  One example is a resistance temperature device (RTD).  The following circuit is commonly used to monitor the change in resistance for a device like an RTD and is called a ‘Wheatstone bridge’:

Assume that the RTD used in this example has a resistance of 100Ω at 0oC and the resistance increases by 0.392Ω/oC.  The 3 R1 resistors have values of 100Ω.  Assume that the impedance of the device measuring Vout is large enough to not have any significant effect on the circuit.  At 0oC what is Vout?  What is Vout at 20oC?  A major limitation of RTDs is that at higher temperatures, they self heat due to the current flowing through them.  At 150oC what is the current passing through the RTD?  Report all answers to 2 significant figures.

At 0oC the resistances through the left and right side of the parallel circuit are equal, so the Vout = 0V.

At 20oC RRTD increases to 107.84Ω.  The voltage between resistors on the right side is:

The voltage between resistors on the left side is 0.5V.  The difference, which is Vout, equals 0.019V.

At 150oC the resistance of RRTD is 158.8Ω.  So the current through the right side is:

6.  Examine the following circuit:

What is the time constant for this circuit?  Assuming the capacitor is fully charged, how long will it take for the capacitor to lose 90% of its charge once the 12V supply is removed?

The time constant is:  R*C = 2.2x10-6s

When the capacitor is fully charged, it carries 12V, after it loses 90% of its charge, it will carry 1.2V.  Solve for t in the following:

7.  Look at the following two plots of voltage versus time.  The voltage was measured across a capacitor in a circuit similar to the one from problem 6; however, in this case the power source (Vin) was a sinusoidal or alternating voltage.

Which plot represents an RC circuit with a longer time constant?

The RC circuit represented in the plot to the right has a longer time constant.

8.  Look at the following plot of Vin versus time (left) and the circuit to which this input voltage is fed (right):

Draw a sketch of Vout.

9.  Name two common general uses for a transistor.

Transistors are commonly used as switches and amplifiers.

10.  For the following op-amp, Vin is -0.025V and the op amp is supplied by ±15V.  The open loop gain is 106.  What is Vout?

Vout will be +15V.

11.  Examine the following op-amp circuit:

Consider the op-amp to be ideal.  Express Vout in terms of V1, V2, R1, and R2.  Give an appropriate name to this circuit.

First, find the voltage at the non-inverting input, since op-amp will equalize the potentials at the inverting and non-inverting inputs:

Now relate V1 to Vout using Kirchhoff’s law.  Since the op-amp draws no current, the current through R1 must equal the negative of the current through R2.

Now equate the two expressions for V- and solve for Vout:

An appropriate name is a ‘difference amplifier’.

12.  Convert the following numbers from decimal to binary:

a. 6 - 110

b. 9 - 1001

c. 43 - 101011

d. 2032 - 11111110000

13.  Convert the following numbers from binary to decimal:

a. 111 - 7

b. 1001 - 9

c. 1001000 - 72

d. 10101000011 - 1347

14.  What is the resolution, expressed in volts, for a 12-bit A/D converter with an input range of ±5V?

The resolution is 5V/212 = 2.4x10-3V

15.  A CO monitor with an analog output signal of 0.050 V/ppmv (parts per million by volume) is placed in a parking garage.  It is desired to be able to record mixing ratios of CO for "normal" garage air (concentration ranging between 1 and 10 ppmv CO) as well as to measure high mixing ratio periods when cars drive by (up to 100 ppmv).  A 10-bit analog to digital converter with an input range of 0 to 10V is used.  What is the maximum CO mixing ratio that can be recorded (without exceeding the A/D board's limit)?  It is desired to be able to record mixing ratios as low as 1 ppmv with a relative uncertainty of 5% or less.  What is the minimum number of bits needed to accomplish this?

Maximum mixing ratio that can be recorded by the A/D converter:

At 1ppmv, a 5% uncertainty is 0.05ppmv which corresponds to an analog output of 0.0025V.

12bits

16.  A researcher decided to cool a photo-multiplier (PMT) used for a fluorescence measurement in order to reduce background noise.  The PMT was originally at room temperature (22oC) and the temperature was reduced to 0oC.  What type of noise was reduced and by how much (%)?  (Ignore any changes in resistance due to the temperature change.)

The type of noise reduced was thermal noise (or kT, or Johnson noise).  It was reduced by a factor of (remember to convert to Kelvin):

17.  Will modulation be effective if the source of the noise is the light source in a spectrometer?

No, if the noise is generated by the light source, then it will also be modulated.

18.  What is shielding, and what type of noise does it help reduce?

Basically, shielding is wrapping wires that carry an analog signal with a grounded conductor.  This will help to reduce environmental noise originating from electromagnetic sources such as 120VAC outlets and radio waves.

19.  When is it appropriate to use a ‘running’ or ‘boxcar’ average to reduce noise?  When applying this type of filter what does one need to be careful about?

These averaging methods should be used when it is impossible to make multiple scans of a sample.  One should be careful about averaging the signal into the noise.  This may occur when the ‘boxcar’ or averaging period contains too many data points.

20.  For the following signals sketch either the frequency domain or the time domain as appropriate:

21.  A sample is measured 12 times by a spectroscopic method.  The average concentration and standard deviation in the average (rms noise) are found to be 5.2±0.7 μM.  Assume the noise is purely random.

a)  What is the signal to noise in a single measurement?

b)  What is the signal to noise in the average value for the twelve measurements?

This is the same as making an ensemble average:

c)  A researcher needs to have the noise be less than 3% of the value in a particular experiment.  How many measurements should be made?

In any case, if the noise is 3% of the average value, then the signal to noise will be 33.  So:

20 measurements must be made.

# Text boxes

Vout

-

+

R2

R1

R2=100kΩΩ

R1=220kΩΩ

12V

-

+

0-3V

B

A

R4=10kΩ

R3=15kΩ

R2=5kΩ

R1=50kΩ

12V

-

+

1V

-

+

Vout

RRTD

R1

R1

R1

C=100pF

R=22kΩ

12V

-

+

Vout

Vin

+

-

Vin

Vout

R2

R2

R1

R1

V2

Vout

V1

+

-