## Slide 1: Chem. 133 – 4/20 Lecture

## Slide 2: Announcements I
Exam 2
  On Tuesday
  Covering Spectroscopy Chapters (Harris 17, 19, and 20 and NMR) and Mass Spectrometry (Harris Ch. 21 – at least most of it)
  Help Session on Friday 12 to 1 in Sequoia 446

## Slide 3: Announcements II
Today’s Lecture
  Mass Spectrometry
    Resolution
    Isotope Effects
    Multiple charging
    MS-MS and other topics if time
  Review of Material on Exam 2

## Slide 4: Mass Spectrometery High Resolution
Calculation of Exact Mass
  Several compounds can have a molecular weight of 84
  Examples:
    C6H12
    C5H8O
    C4H4O2
    C4H4S
    CH2Cl2
  Each example above will have slightly different mass
  (go over mass calculations on board)

## Slide 5: Mass Spectrometery Isotope Effects
It also may be possible to distinguish compounds based on isotopic composition
Compounds in high resolution example will have different expected M+1/M and M+2/M ratios (which will NOT require high resolution to see)
Text does not explain calculations that well
Go over calculations for CH3Cl, CH2BrCl, and CHCl3

## Slide 6: Mass Spectrometery Other Topics – Multiple Charges in ESI
In ESI analysis of large molecules, multiple charges are common due to extra (+) or missing (-) Hs (or e.g. Na+)
The number of charges can be determined by looking at distribution of big peaks
For + ions m/z = (M+1.008n)/n (most common)
For – ions m/z = (M–1.008n)/n
Ion current
m/z
Dm/z
(M+n)/n
(M+n+1)/(n+1)
Example: m/z peaks =711.2, 569.3, 474.8, 407.1
I am only showing an “approximate” method for determining n and M – this usually will work when H+ is causing the charging, but not if Na+ causes charging

## Slide 7: Mass Spectrometery Questions - #2
A modification is made in a peptide chain of molecular weight 1503 (native form), in which one threonine residue (NH3CH(CHCH3(OH))CO2) is replaced with cysteine (NH3CH(CH2SH)CO2). What resolution is needed to separate the native peptide from the modified peptide?
Predict the M+1/M, M+2/M, M+3/M, and M+4/M ratios for the ion C4H7S2O3-.

## Slide 8: Mass Spectrometery Other Topics - MS-MS
In LC-ESI-MS, little fragmentation occurs making determination of unknowns difficult
In LC-ESI-MS on complicated samples, peak overlap is common, with interferants with the same mass possible (e.g. PBDPs)
In both of above samples, using MS-MS is useful
This involves multiple passes through mass analyzers (either separate MSs or reinjection in ion-trap MS) and is termed MS-MS
Between travels through MS, ions are collided with reagent gas to cause fragmentation

## Slide 9: Mass Spectrometery Interpretation Questions
Determine the identity of the compound giving the following distribution:
m/z | Abundance (% of biggest)
25 | 14
26 | 34
27 | 100
35 | 9
62 | 77
64 | 24

## Slide 10: Mass Spectrometery Interpretation Questions – cont.
2. Determine the identity of the compound giving the following distribution:
m/z | Abundance (% of biggest)
29 | 9.2
50 | 30.5
51 | 84.7
77 | 100
93 | 16
123 | 39

## Slide 11: Exam 2 Topics to Know
Chapter 17 (Spectroscopy – Theory)
  Light defining parameters (be able to convert between l, E, n, and for light).*
  Know processes of absorption and emission.
  Know alternative methods of excitation and de-excitation.
  Know regions of electromagnetic spectrum and related transitions.
  Know basics of spectral interpretation.
  Understand and be able to use Beer’s Law equations.*
  Know sources of deviations to Beer’s Law + region of best precision

## Slide 12: Exam 2 Topics (cont.)
B. Chapter 19 (Spectrometers – cont.)
  Spectrometer Design (know main components + designs for UV, fluorescence, and FTIR spectrometers)
  Main discrete and broad band light sources
  Main methods of wavelength discrimination (interference filters, monochromators, polychromators, Fourier methods, and through energy dispersive detectors)
  How interference filters work*
  Components and calculations in grating monochromators/polychromators*

## Slide 13: Exam 2 Topics (cont.)
B. Ch. 19 – cont.
  Light Detectors (basic types and how they work)
  Polychromators/Array detectors – how they work
  How energy dispersive detectors work and what types of light measurements they are used for
  How FTIR works + advantages and disadvantages of FTIR
C. Chapter 20 (Atomic Spectroscopy)
  Methods for Elemental Analysis (solid + liquid samples)
  Basic theory of atomic transitions

## Slide 14: Exam 2 Topics (cont.)
C. Chapter 20 – cont.
  Atomization processes in flame, graphite furnace, and ICP and sources of inefficiency in atomization
  Effect of temp. on Boltzmann distribution and on emission intensity*
  Methods of atomization (plus advantages and disadvantages of each)
  Types of interferences and means of dealing with them
  How to use Standard Addition to calculate concentrations*
  Block diagrams of AAS, AES, and ICP-MS instruments including specific components used

## Slide 15: Exam 2 Topics (cont.)
D. NMR (R&R Ch. 11)
  How to relate resonance frequency to magnetic field strength*
  Types of nuclei that are NMR active and number of and spins of states based on I value of nucleus*
  Origin of sensitivity problem and factors that affect sensitivity in NMR*
  Causes and effects of relaxation (spin-lattice and spin-spin + relation to peak width)
  Causes of deshielding
  Relative position of protons in spectra due to amount of deshielding
  Magnetic anisotropy (know electron circulation in aromatics)

## Slide 16: Exam 2 Topics (cont.)
D. NMR – cont.
  Relationship between ppm and Hz scales*
  Source of splitting and predicting splitting patterns from 1 set of neighboring equivalent nuclei
  General Proton Interpretation (# equivalent nuclei, relative # of each, relative position, # neighboring nuclei)
  Understand magnetic field requirements
  Understand main spectrometer components in NMR instruments (e.g. light source)
E. Mass Spectrometry Topics
  Main Instrument Components

## Slide 17: Exam 2 Topics (cont.)
E. MS Topics – cont.
  Methods of ionization in mass spectrometry: phase used for, ions produced, and amounts of fragmentation
  Methods to separate ions (mass analyzers) and practical uses
  Resolving Power* and Resolution Needs (nominal vs. high resolution)
  Isotope effect calculations*
  Multiple charging calculations to determine M and z*
  MS-MS use

## Slide 18: Exam 2: Equations Provided
Monochromator angular and linear dispersion equations:
    Angular dispersion = Df/Dl = n/dcosf
    Linear dispersion = D = Dy/Dl = FDf/Dl
Boltzmann Distribution Equation
Relationship between frequency and magnetic field in NMR
Portion of Pascal’s Triangle needed (for integration of splitting peaks in NMR or for probabilities in MS)