## Slide 1: Chem. 31 – 9/20 Lecture

## Slide 2: Announcements I
Pipet Calibration Lab Reports – due today
Quiz 2 – Also today – after announcements
Lab Manual Problem
  Appendix III – meant to list what to turn in for every lab + have forms
  Has a removed lab plus missing new labs
  Missing forms after pipet lab
  PDF will be made soon

## Slide 3: Announcements II
Today’s Lecture
  Gaussian Statistics (Chapter 4)
    Confidence Intervals (t-based)
    Statistical Tests (F-test, t-tests)

## Slide 4: Chapter 4 – Calculation of Confidence Interval with s Not Known
Value + uncertainty =
t = Student’s t value
t depends on:
- the number of samples (more samples => smaller t)
- the probability of including the true value (larger probability => larger t)

## Slide 5: Chapter 4 – Calculation of Uncertainties Example
Measurement of lead in drinking water sample:
  values = 12.3, 9.8, 11.4, and 13.0 ppb
What is the 95% confidence interval?

## Slide 6: Chapter 4 – Ways to Reduce Uncertainty
Decrease standard deviation in measurements (usually requires more skill in analysis or better equipment)
Analyze each sample more time (this increases n and decreases t)
Understand variability better (so that s is known and Z-based uncertainty can be used)
Notes: 6

## Slide 7: Overview of Statistical Tests
F-Test: Determine if there is a significant difference in standard deviations between two methods or sample sets (which method is more precise/which set is more variable)
t-Tests: Determine if a systematic error exists in a method or between methods or if a difference exists in sample sets
Grubbs Test: Determine if a data point can be excluded on a statistical basis
Notes: 7

## Slide 8: Statistical Tests Possible Outcomes
Outcome #1 – There is a statistically significant result (e.g. a systematic error)
  this is at some probability (e.g. 95%)
  can occasionally be wrong (5% of time possible if test barely valid at 95% confidence)
Outcome #2 – No significant result can be detected (Null Hypothesis)
  this doesn’t mean there is no systematic error or difference in averages
  it does mean that the systematic error, if it exists, is not detectable (e.g. not observable due to larger random errors)
  It is not possible to prove a null hypothesis beyond any doubt
Notes: 8

## Slide 9: Overview of Statistical Tests
You need to know:
  Type of test to apply for a given situation
  How to perform the test for specific circumstances (not all, but at least case 1 t-test and Grubb’s test – some tests require a lot of calculations so have little value on an exam)
Notes: 9

## Slide 10: F - Test
Used to compare precision of two different methods (to see if there is a significant difference in their standard deviations)
or to determine if two sample sets show different variability (e.g. standard deviations for mass of fish in Lake 1 – from a hatchery vs Lake 2 – native fish)
Example: butyric acid is analyzed using HPLC and IC. Is one method more precise?
Method | Mean (ppm) | S (ppm) | n
HPLC | 221 | 21 | 4
IC | 188 | 15 | 4
Notes: 10

## Slide 11: F - Test
Example – cont.
  IC method is more precise (lower standard deviation), but is it significant?
  We need to calculate an F value
Then, we must look up FTable (= 9.28 for 3 degrees of freedom for each method with 4 trials)
This requires S1 > S2, so 1 = HPLC, 2 = IC
Since FCalc < FTable, we can conclude there is no significant difference in S (or at least not at the 95% level)
Notes: 11

## Slide 12: Statistical Tests t Tests
Case 1
  used to determine if there is a significant bias by measuring a test standard and determining if there is a significant difference between the known and measured concentration
Case 2
  used to determine if there is a significant differences between two methods (or samples) by measuring one sample multiple time by each method (or each sample multiple times) – same measurements as used for F-test
Case 3
  used to determine if there is a significant difference between two methods (or sample sets) by measuring multiple sample once by each method (or each sample in each set once)
Notes: 12

## Slide 13: Case 1 t test Example
A new method for determining sulfur content in kerosene was tested on a sample known to contain 0.123% S.
The measured %S were:
0.112%, 0.118%, 0.115%, and 0.117%
Do the data show a significant bias at a 95% confidence level?
Clearly lower, but is it significant?
Notes: 13

## Slide 14: Case 2 t test Example
Back to butyric acid example
  Now, Case 2 t-test is used to see if the difference between the means is significant (F test tested standard deviations)
Method | Mean (ppm) | S (ppm) | n
HPLC | 221 | 21 | 4
IC | 188 | 15 | 4
Notes: 14

## Slide 15: Case 3 t Test Example
Case 3 t Test used when multiple samples are analyzed by two different methods (only once each method)
Useful for establishing if there is a constant systematic error
Example: Cl- in Ohio rainwater measured by Dixon and PNL (14 samples)
Notes: 15

## Slide 16: Case 3 t Test Example – Data Set and Calculations
Conc. of Cl- in Rainwater |  | 
(Units = uM) |  | 
Sample # | Dixon Cl- | PNL Cl-
1 | 9.9 | 17.0
2 | 2.3 | 11.0
3 | 23.8 | 28.0
4 | 8.0 | 13.0
5 | 1.7 | 7.9
6 | 2.3 | 11.0
7 | 1.9 | 9.9
8 | 4.2 | 11.0
9 | 3.2 | 13.0
10 | 3.9 | 10.0
11 | 2.7 | 9.7
12 | 3.8 | 8.2
13 | 2.4 | 10.0
14 | 2.2 | 11.0
7.1
8.7
4.2
5.0
6.2
8.7
8.0
6.8
9.8
6.1
7.0
4.4
7.6
8.8
Calculations
Step 1 – Calculate Difference
Step 2 - Calculate mean and standard deviation in differences
ave d = (7.1 + 8.7 + ...)/14
ave d = 7.49
Sd = 2.44
Step 3 – Calculate t value:
tCalc = 11.5
Notes: 16

## Slide 17: Case 3 t Test Example – Rest of Calculations
Step 4 – look up tTable
  (t(95%, 13 degrees of freedom) = 2.17)
Step 5 – Compare tCalc with tTable, draw conclusion
  tCalc >> tTable so difference is significant
Notes: 17

## Slide 18: t- Tests
Note: These (case 2 and 3) can be applied to two different senarios:
  samples (e.g. comparing blood glucose levels of two twins)
  methods (analysis method A vs. analysis method B)
Notes: 18