## Provided Calibration Data
Sample or Standard Name | Lead Concentration (µg/L or ppb) | Absorbance (Instrument Response, in Absorbance Units)
Standard 1 | 0.5 | 0.00091942
Standard 2 | 1 | 0.0017655
Standard 3 | 5 | 0.008373
Standard 4 | 10 | 0.015884
Standard 5 | 25 | 0.037248
Standard 6 | 50 | 0.076138
Sequoia 448 Tap 1:100 Dilution |  | 0.0026414
Sequoia 448 DI 1:100 Dilution |  | 0.012404
Sequoia Drinking Fountain 4th Floor South |  | 0.0013454
JMS Tap Water (Home) |  | 0.0014605
Alpine Hall 1st Floor |  | 0.01402

## Comparison Data
Sample ID | Sacramento State | EPA Certified Laboratory
| Lead Concentration (ppb) | Lead Concentration (ppb)
Alpine 1st Floor March Replicate 1 | 4.0778 | 4.1
Alpine 1st Floor March Replicate 2 | 4.4187 | 3.8
Alpine 1st Floor Mid June Replicate 1 | 8.8603 | 5.4
Alpine 1st Floor Mid June Replicate 2 | 2.2108 | 1.5
Alpine 1st Early June Replicate 1 | 6.9328 | 7.7
Alpine 1st Early June Replicate 2 | 1.2995 | 2
Mariposa 3rd Floor March | 1.8161 | 1.9
Mariposa 5th Floor March | 1.3647 | 1.2
Mariposa 5th Floor June | 0.50977 | 0.15
Sequoia 4th Floor June | 1.1857 | 0.67
Alpine 1st Floor 2ppb Spike | 3.9617 | 3.5
Alpine 1st Floor 10 ppb Spike | 12.6931 | 11