Chapter 14  Renewable Energy

- Principles of Solar Energy

  - From where does it originate?

Thermonuclear fusion reactions occurring in the Sun.  Important- all the chemical and radioactive polluting by-products of reactions left behind on Sun.

  - How much solar energy reaches earth?

    - Almost beyond comprehension.  Just 40 minutes of sunlight striking land surface of US is equivalent to an entire year’s worth of our fossil fuel consumption.

    - If 1/10th of 1% of Earth’s land surface dedicated to solar energy collection- could supply electricity needs of the entire world.

- Direct Solar

  - Water Heating

    - Passive Solar – Natural Convection

    - Active Solar – water moved by pump

      - Benefits

        - Cheap – Swimming pool system pays for itself in 3–5 yrs.

        - Environmentally friendly

        - Can reduce conventional water heating bill by 33%

      - Costs -Only works in sunny areas; can freeze; corrosion

      - Future – Presently only .5% of total US Water heaters

- Space Heating – Same concept

  - Passive Solar – Natural Convection

  - Active Solar – pump moves air

    - Benefits

      - Economic – Can reduce energy bills by 75% on average household

      - Environmental – could save up to 25% of US oil, natural gas and electrical power use

    - Costs

      - Backup heating system needed

      - At present, solar equipment somewhat expensive; adds approximately 10% to construction cost of average home

    - Future- Could greatly reduce US reliance on oil, coal and natural gas

- Electricity Production

  - Technologies

    - Photovoltaic Cells – Light photons dislodge electrons, creating an electrical potential between two silicon sandwiches.  System is approximately 20% efficient in converting light to electricity

    - Solar-Trough Collectors – reflects light onto an oil-filled pipe.  Hot oil used to boil water/ steam turns turbine. 22% efficient.

    - Experimental Technologies – Power tower & dish-engine (apx. 30% efficient)

  - Costs

    - Downfalls – expensive and works only during sunny periods; battery storage?

    - Benefits- Environmentally clean if used directly and will reduce reliance on traditional fuels.

Future- At present, PV provides less than 0.005% of U.S. electricity consumption.  Practically all regions of U.S. other than Pacific Northwest and Northeast, receive average annual solar radiation of 4 kWh/m2/day or more.  This means a 2 kWp PV system, fitted on a standard house roof, will provide 3000 kWh a year. This represents around 1/2 of a typical U.S. household's electricity consumption

- Indirect Solar

A.	Hydrogen Fuel

    - How it works:     2H2 + O2 -> 2H20 + energy

    - Negative net energy and why solar is suggested as a source of energy

    - Prospects – Too expensive at present/ Requires large solar transformers

    - Costs – Nitrogen oxides produced because air is nearly 4/5ths nitrogen.

    - Benefits – in pure state, only byproduct is water

- Hydropower/ Electrical

  - How it works – energy stored in water behind dams is used to turn turbines

  - Prospects – almost all appropriate places for large-scale dams have been used in US

  - Costs – environmentally very damaging; takes land out of production; not permanent

  - Benefits – clean energy producer

- Wind Power

  - How it works – Wind turbine; Propeller shaft is geared directly to generator

  - Prospects - North Dakota alone has enough potential energy from windy areas to supply 36% of the total electricity consumption of the 48 contiguous states.

  - Downfalls – Intermittent source; aesthetically unpleasing; hazard to many bird species

  - Benefits – Pollution free; Non-depletable

- Biomass Energy

  - Technologies

    - Burning Fire wood

    - Burning Wastes

    - Producing Methane

    - Producing Alcohol

  - Prospects –

  - Costs- Fuel Crisis in developing countries (especially wood); combustion toxins

  - Benefits – Alcohol can be used in place of MTBE

- Other Renewable Energy Options

  - Geothermal Energy Options

  - How it works – hot molten rock near earth’s surface heats water to steam

  - Prospects – Could provide 10% of US West’s energy needs by 2020

  - Costs- releases toxins such as salt and sulfur compounds; uses up ground water

  - Benefits- Cheap turbo-generator energy

- Tidal Power

  - How it works- Gravitational pull of moon and sun makes tides rise and fall twice a day.  By building dams across bays, turbines could be used to harness tidal energy.

  - Prospects- Not many places on Earth with large tides to make it practical.

  - Costs- decimate migratory animals using bays; trap sediment; prevent navigation

  - Benefits- in theory, pollution free

D.	Ocean Thermal Energy Conversion

  - How it works- 20oC (36oF) thermal gradient exists between water at top of oceans and water at bottom.  Use surface water to heat and vaporize low-boiling-point liquid (ie ammonia).  Vapor used to turn turbines and low temperature water used to cool vapors into liquid again.

  - Prospects- Little economic promise- unless coupled with other, cost-effective operations.