Chapter 19

Municipal Solid Waste (MSW);

Common names: trash or garbage

Consists of everyday items: product packaging, grass clippings, furniture, clothing, bottles, food scraps, newspapers, appliances, paint, & batteries.  Commonly generated from peoples' homes, but also comes from commercial, institutional, & industrial sources.

Landfill problems

- Soil, surface water and/or groundwater contamination from the leaching of contaminants from the waste

- Surface water contamination from erosion due to earthmoving operations

- Gas generation from the degradation of waste materials

- Illegal disposal of hazardous wastes

- Disposal of household hazardous waste

- Inadequate waste screening procedures

- Potential for fires

- Spills or leaks from storage tanks or drums on-site

Contamination Evidence:

  - Observed leachate runoff

  - Seepage into nearby surface water

  - High levels of bacteria, organic chemicals, metals, nitrates in well water tests

Causes:

  - Lack of leachate movement control

  - Permeable soil

  - Leaky landfill cover

  - No liner or liner failure

  - Poor management

  - Lack of hazardous wastes disposal control

Prevention:

  - Proper design, maintenance, and operation

  - Avoid sensitive groundwater areas

  - Regular inspection and groundwater monitoring

  - Ban hazardous wastes from landfill unless designed for this purpose

  - Reduce waste by promoting recycling

What is waste to energy?

What is landfill gas?

Composting?